SECTION 015526

Traffic Control

- PART 1 GENERAL

RELATED REQUIREMENTS

- Section 015500 - Vehicular Access and Parking.

- Section 013553 - Security Procedures.

QUALITY ASSURANCE

Codes and Standards:  Comply with provisions of the following, except where requirements of the contract documents or of governing codes and authorities having jurisdiction are more stringent.

MDOT Standard Specifications for Construction.

PROJECT CONDITIONS

Sequence installation to ensure utility connections are achieved in an orderly and expeditious manner.

ENVIRONMENTAL REQUIREMENTS

Environmental Requirements:  Do not proceed with installation until existing and forecasted weather conditions are favorable and will allow work to proceed.

- PART 2 PRODUCTS - NOT USED

- PART 3 EXECUTION

  - APPLICATION

GENERAL:

Traffic shall be maintained by the Contractor during the project in accordance with Section 1.04.04 and 6.31 of the MDOT Standard Specifications for Construction, 1990 Edition, and any supplemental specification in this specification.

The Contractor shall coordinate this work with other contractors performing work within the construction area or adjoining areas to avoid conflicts in the maintenance of traffic and the orderly progress of contract work.

Access shall be maintained to commercial establishments and residences at all times unless otherwise directed by the project engineer.

All work shall be restricted to daylight hours only.  Night work and weekend work shall be as directed by the project engineer or project architect.  Work shall not be conducted in MDOT right-of-ways on holidays, if working on holidays.

All local roads shall remain open to traffic at all times unless otherwise directed by the project engineer.

TRAFFIC CONTROL DEVICES:

All traffic control devices and their usage shall be in accordance with provisions in the Manual of Uniform Traffic Control Devices (MUTCD), 1994 edition, as revised.  All construction signs, unless otherwise noted, shall be 48” x 48”, mounted at the bottom height of seven feet and placed as directed by the project engineer.  When signs are no longer applicable, they shall be removed.

END OF SECTION